FUNDAMENTALS OF

STRUCTURAL ANALYSIS

6th Edition

Kenneth M. Leet, Chia-Ming Uang, and Joel T. Lanning

SOLUTIONS MANUAL

CHAPTER 2: DESIGN LOADS AND 
STRUCTURAL FRAMING

P2.1. Determine the deadweight of a 1-ft-long segment of the prestressed, reinforced concrete tee-beam whose cross section is shown in 
Figure P2.1. Beam is constructed with lightweight concrete which weighs 120 lb/ft3.

P2.1. Determine the deadweight of a 1-ft-long segment of the prestressed, reinforced concrete tee-beam whose cross section is shown in 
Figure P2.1. Beam is constructed with lightweight concrete which weighs 120 lb/ft3.

P2.1

P2.1

Compute the weight/ft. of cross section @ 120 lb/ft3.

Compute cross sectional area:

Weight of member per foot length:

P2.2. A wide flange steel beam shown in 
Figure P2.2 supports a permanent concrete masonry wall, floor slab, architectural finishes, mechanical and electrical systems. Determine the uniform dead load in kips per linear foot acting on the beam.

The wall is 9.5-ft high, non-load bearing and laterally braced at the top to upper floor framing (not shown). The wall consists of 8-in. lightweight reinforced concrete masonry units with an average weight of 90 psf. The composite concrete floor slab construction spans over simply supported steel beams, with a tributary width of 10 ft, and weighs 50 psf.

The estimated uniform dead load for structural steel framing, fireproofing, architectural features, floor finish, and ceiling tiles equals 24 psf, and for mechanical ducting, piping, and electrical systems equals 6 psf.

P2.2. A wide flange steel beam shown in 
Figure P2.2 supports a permanent concrete masonry wall, floor slab, architectural finishes, mechanical and electrical systems. Determine the uniform dead load in kips per linear foot acting on the beam.

The wall is 9.5-ft high, non-load bearing and laterally braced at the top to upper floor framing (not shown). The wall consists of 8-in. lightweight reinforced concrete masonry units with an average weight of 90 psf. The composite concrete floor slab construction spans over simply supported steel beams, with a tributary width of 10 ft, and weighs 50 psf.

The estimated uniform dead load for structural steel framing, fireproofing, architectural features, floor finish, and ceiling tiles equals 24 psf, and for mechanical ducting, piping, and electrical systems equals 6 psf.

P2.2

P2.2

Uniform Dead Load WDL Acting on the Wide Flange Beam:

P2.3. Consider the floor plan shown in Figure P2.3. Compute the tributary areas for (a) floor beam B1, (b) floor beam B2, (c) girder G1, 
(d) girder G2, (e) corner column C1, and 
(f ) interior column C2.

P2.3. Consider the floor plan shown in Figure P2.3. Compute the tributary areas for (a) floor beam B1, (b) floor beam B2, (c) girder G1, 
(d) girder G2, (e) corner column C1, and 
(f ) interior column C2.

P2.3

P2.3

P2.4. Refer to Figure P2.3 for the floor plan. Calculate the tributary areas for (a) floor 
beam B3, (b) floor beam B4, (c) girder G3, 
(d) girder G4, (e) edge column C3, and (f ) corner column C4.

P2.4. Refer to Figure P2.3 for the floor plan. Calculate the tributary areas for (a) floor 
beam B3, (b) floor beam B4, (c) girder G3, 
(d) girder G4, (e) edge column C3, and (f ) corner column C4.

P2.3

P2.3

P2.5. The uniformly distributed live load on the floor plan in Figure P2.3 is 60 lb/ft2. Establish the live loading for members (a) floor beam B1, 
(b) floor beam B2, (c) girder G1, and (d) girder G2. Consider the live load reduction if permitted by the ASCE standard.

P2.5. The uniformly distributed live load on the floor plan in Figure P2.3 is 60 lb/ft2. Establish the live loading for members (a) floor beam B1, 
(b) floor beam B2, (c) girder G1, and (d) girder G2. Consider the live load reduction if permitted by the ASCE standard.

P2.3

P2.3

P2.6. The uniformly distributed live load on the floor plan in Figure P2.3 is 60 lb/ft2. Establish the live loading for members (a) floor beam B3, 
(b) floor beam B4, (c) girder G3, and girder G4. Consider the live load reduction if permitted by the ASCE standard.

P2.6. The uniformly distributed live load on the floor plan in Figure P2.3 is 60 lb/ft2. Establish the live loading for members (a) floor beam B3, 
(b) floor beam B4, (c) girder G3, and girder G4. Consider the live load reduction if permitted by the ASCE standard.

P2.3

P2.3

P2.7. The building section associated with the floor plan in Figure P2.3 is shown in Figure P2.7. Assume a live load of 60 lb/ft2 on all three floors. Calculate the axial forces produced by the live load in column C2 in the third and first stories. Consider any live load reduction if permitted by the ASCE standard.

P2.7. The building section associated with the floor plan in Figure P2.3 is shown in Figure P2.7. Assume a live load of 60 lb/ft2 on all three floors. Calculate the axial forces produced by the live load in column C2 in the third and first stories. Consider any live load reduction if permitted by the ASCE standard.

P2.7

P2.7

PLAN

PLAN

ELEVATION

ELEVATION

P2.8. The building section associated with the floor plan in Figure P2.3 is shown in Figure P2.7. Assume a live load of 60 lb/ft2 on all three floors. Calculate the axial forces produced by the live load in column C3 in the third and first stories. Consider any live load reduction if permitted by the ASCE standard.

P2.8. The building section associated with the floor plan in Figure P2.3 is shown in Figure P2.7. Assume a live load of 60 lb/ft2 on all three floors. Calculate the axial forces produced by the live load in column C3 in the third and first stories. Consider any live load reduction if permitted by the ASCE standard.

P2.7

P2.7

PLAN

PLAN

PLAN

PLAN

ELEVATION

ELEVATION

ELEVATION

ELEVATION

P2.9. Consider the floor plan shown in Figure P2.9. Compute the tributary areas for (a) floor beam B1, (b) floor beam B2, (c) girder G1, 
(d) girder G2, (e) corner column C1, and 
(f ) corner column C2.

P2.9. Consider the floor plan shown in Figure P2.9. Compute the tributary areas for (a) floor beam B1, (b) floor beam B2, (c) girder G1, 
(d) girder G2, (e) corner column C1, and 
(f ) corner column C2.

P2.9

P2.9

P2.10. Refer to Figure P2.9 for the floor plan. Calculate the tributary areas for (a) floor beam B3, (b) floor beam B4, (c) girder G3, (d) girder G4, (e) corner column C3, and (f) exterior column C4.

P2.10. Refer to Figure P2.9 for the floor plan. Calculate the tributary areas for (a) floor beam B3, (b) floor beam B4, (c) girder G3, (d) girder G4, (e) corner column C3, and (f) exterior column C4.

P2.9

P2.9

P2.11. Consider the floor plan shown in Figure P2.9. Compute the tributary areas for (a) floor beam B5, (b) floor beam B6, (c) girder G5, (d) exterior column C5, and (f) corner column C6.

P2.11. Consider the floor plan shown in Figure P2.9. Compute the tributary areas for (a) floor beam B5, (b) floor beam B6, (c) girder G5, (d) exterior column C5, and (f) corner column C6.

P2.9

P2.9

P2.12. The uniformly distributed live load 
on the floor plan in Figure P2.9 is 100 lb/ft2. Establish the live loading for members (a) floor beam B1, (b) floor beam B2, (c) girder G1, and (d) girder G2. Consider the live load reduction if permitted by the ASCE standard.

P2.12. The uniformly distributed live load 
on the floor plan in Figure P2.9 is 100 lb/ft2. Establish the live loading for members (a) floor beam B1, (b) floor beam B2, (c) girder G1, and (d) girder G2. Consider the live load reduction if permitted by the ASCE standard.

P2.9

P2.9

P2.13. The uniformly distributed live load on the floor plan in Figure P2.9 is 100 lb/ft2. Establish the live loading for members 
(a) floor beam B3, (b) floor beam B4, 
(c) girder G3, and girder G4. Consider the 
live load reduction if permitted by the ASCE standard.

P2.13. The uniformly distributed live load on the floor plan in Figure P2.9 is 100 lb/ft2. Establish the live loading for members 
(a) floor beam B3, (b) floor beam B4, 
(c) girder G3, and girder G4. Consider the 
live load reduction if permitted by the ASCE standard.

P2.9

P2.9

P2.14. The building section associated with the floor plan in Figure P2.9 is shown in Figure P2.14. Assume a live load of 60 lb/ft2 on the roof and 100 lb/ft2 on the floor. Calculate the axial forces produced by the live load in column C2 in the first and second stories. Consider any live load reduction if permitted by the ASCE standard.

P2.14. The building section associated with the floor plan in Figure P2.9 is shown in Figure P2.14. Assume a live load of 60 lb/ft2 on the roof and 100 lb/ft2 on the floor. Calculate the axial forces produced by the live load in column C2 in the first and second stories. Consider any live load reduction if permitted by the ASCE standard.

P2.14

P2.14

P2.15. The building section associated with the floor plan in Figure P2.9 is shown in Figure P2.14. Assume a live load of 60 lb/ft2 on the roof and 100 lb/ft2 on the floor. Calculate the axial forces produced by the live load in column C4 in the first and second stories. Consider any live load reduction if permitted by the ASCE standard.

P2.15. The building section associated with the floor plan in Figure P2.9 is shown in Figure P2.14. Assume a live load of 60 lb/ft2 on the roof and 100 lb/ft2 on the floor. Calculate the axial forces produced by the live load in column C4 in the first and second stories. Consider any live load reduction if permitted by the ASCE standard.

P2.14

P2.14

P2.16. A five-story building is shown in 
Figure P2.16. Following the ASCE standard, the wind pressure along the height on the windward side has been established as shown in Figure P2.16(c). (a) Considering the windward pressure in the east-west direction, use the tributary area concept to compute the resultant wind force at each floor level. (b) Compute the horizontal base shear and the overturning moment of the building.

P2.16. A five-story building is shown in 
Figure P2.16. Following the ASCE standard, the wind pressure along the height on the windward side has been established as shown in Figure P2.16(c). (a) Considering the windward pressure in the east-west direction, use the tributary area concept to compute the resultant wind force at each floor level. (b) Compute the horizontal base shear and the overturning moment of the building.

P2.16

P2.16

P2.17. A mechanical support framing system is shown in Figure P2.17. The framing consists of steel floor grating over steel beams and entirely supported by four tension hangers that are connected to floor framing above it. It supports light machinery with an operating weight of 4000 lb, centrally located. (a) Determine the impact factor I from the Live Load Impact Factor, Table 2.3. (b) Calculate the total live load acting on one hanger due to the machinery and uniform live load of 40 psf around the machine. (c) Calculate the total dead load acting on one hanger. The floor framing dead load is 25 psf. Ignore the weight of the hangers. Lateral bracing is located on all four edges of the mechanical floor framing for stability and transfer of lateral loads.

P2.17. A mechanical support framing system is shown in Figure P2.17. The framing consists of steel floor grating over steel beams and entirely supported by four tension hangers that are connected to floor framing above it. It supports light machinery with an operating weight of 4000 lb, centrally located. (a) Determine the impact factor I from the Live Load Impact Factor, Table 2.3. (b) Calculate the total live load acting on one hanger due to the machinery and uniform live load of 40 psf around the machine. (c) Calculate the total dead load acting on one hanger. The floor framing dead load is 25 psf. Ignore the weight of the hangers. Lateral bracing is located on all four edges of the mechanical floor framing for stability and transfer of lateral loads.

P2.17

P2.17

a) Live Load Impact Factor = 20%

b) Total LL

c) Total DL

P2.18. The dimensions of a 9-m-high warehouse are shown in Figure P2.18. The windward and leeward wind pressure profiles in the long direction of the warehouse are also shown. Establish the wind forces based on the following information: basic wind speed = 40 m/s, wind exposure category = C, Kd = 0.85, Kzt = 1.0, 
G = 0.85, and Cp = 0.8 for windward wall and −0.2 for leeward wall. Use the Kz values listed in Table 2.4. What is the total wind force acting in the long direction of the warehouse?

P2.18. The dimensions of a 9-m-high warehouse are shown in Figure P2.18. The windward and leeward wind pressure profiles in the long direction of the warehouse are also shown. Establish the wind forces based on the following information: basic wind speed = 40 m/s, wind exposure category = C, Kd = 0.85, Kzt = 1.0, 
G = 0.85, and Cp = 0.8 for windward wall and −0.2 for leeward wall. Use the Kz values listed in Table 2.4. What is the total wind force acting in the long direction of the warehouse?

P2.18

P2.18

Use I = 1

For the Windward Wall

Total Wind force, FW, Windward Wall

For Leeward Wall

Total Wind force on Leeward Wall

*Both FL and FN Act in Same Direction.

P2.19. The dimensions of an enclosed gabled building are shown in Figure P2.19a. The external pressures for the wind load perpendicular to the ridge of the building are shown in Figure P2.19b. Note that the wind pressure can act toward or away from the windward roof surface. For the particular building dimensions given, the Cp value for the roof based on the ASCE standard can be determined from Table P2.19, where plus and minus signs signify pressures acting toward and away from the surfaces, respectively. Where two values of Cp are listed, this indicates that the windward roof slope is subjected to either positive or negative pressures, and the roof structure should be designed for both loading conditions. The ASCE standard permits linear interpolation for 
the value of the inclined angle of roof θ. But interpolation should only be carried out between values of the same sign. Establish the wind pressures on the building when positive pressure acts on the windward roof. Use the following data: basic wind speed = 100 mi/h, wind exposure category = B, Kd = 0.85, Kzt = 1.0, G = 0.85, and Cp = 0.8 for windward wall and –0.2 for leeward wall.

P2.19. The dimensions of an enclosed gabled building are shown in Figure P2.19a. The external pressures for the wind load perpendicular to the ridge of the building are shown in Figure P2.19b. Note that the wind pressure can act toward or away from the windward roof surface. For the particular building dimensions given, the Cp value for the roof based on the ASCE standard can be determined from Table P2.19, where plus and minus signs signify pressures acting toward and away from the surfaces, respectively. Where two values of Cp are listed, this indicates that the windward roof slope is subjected to either positive or negative pressures, and the roof structure should be designed for both loading conditions. The ASCE standard permits linear interpolation for 
the value of the inclined angle of roof θ. But interpolation should only be carried out between values of the same sign. Establish the wind pressures on the building when positive pressure acts on the windward roof. Use the following data: basic wind speed = 100 mi/h, wind exposure category = B, Kd = 0.85, Kzt = 1.0, G = 0.85, and Cp = 0.8 for windward wall and –0.2 for leeward wall.

P2.19

P2.19

TABLE P2.13 Roof Pressure Coefficient Cp                                                                                               *θ defined in Figure P2.13

| Windward |  |  |  |  |  |  |  |  |  |  | Leeward |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Angle θ | 10 | 15 | 20 | 25 | 30 | 35 | 45 | ≥60 |  | 10 |  | 15 | ≥20 |
| Cp | −0.9 | −0.7 | −0.4 | −0.3 | −0.2 | −0.2 | 0.0 | 0.01θ* |  | −0.5 |  | −0.5 | −0.6 |
|  |  |  | 0.0 | 0.2 | 0.2 | 0.3 | 0.4 |  |  |  |  |  |  |

Mean Roof Height, h  24 ft

Consider Positive Windward Pressure on Roof, 
i.e. left side.

Interpolate in Table P2.10

From Table 2.4 (see p51 of text)

P2.19. Continued

Wind Pressure on Windward Wall & Roof

Wind Pressure on Leeward Side

Cp  ‒0.2 for wall  0.6 for roof

P2.20. Establish the wind pressures on the building in Problem P2.19 when the windward roof is subjected to an uplift wind force.

P2.20. Establish the wind pressures on the building in Problem P2.19 when the windward roof is subjected to an uplift wind force.

P2.19

P2.19

TABLE P2.13  Roof Pressure Coefficient Cp                                                                           *θ defined in Figure P2.11

| Windward |  |  |  |  |  |  |  |  |  |  | Leeward |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Angle θ | 10 | 15 | 20 | 25 | 30 | 35 | 45 | ≥60 |  | 10 |  | 15 | ≥20 |
| Cp | −0.9 | −0.7 | −0.4 | −0.3 | −0.2 | −0.2 | 0.0 | 0.01θ* |  | −0.5 |  | −0.5 | −0.6 |
|  |  |  | 0.0 | 0.2 | 0.2 | 0.3 | 0.4 |  |  |  |  |  |  |

See P2.13 Solution

Windward Roof (Negative Pressure)

33.7

Interpolate between 30 and 35 for negative Cp value in Table P2.12

Note: Wind pressures on other 3 surfaces are the same as in P2.13.

P2.21

P2.21

P2.21. (a) Determine the wind pressure distribution on the four sides of the 10-story hospital shown in Figure P2.21. The building is located near the Georgia coast where the wind velocity contour map in the ASCE Standard specifies a design wind speed of 140 mph. The building, located on level flat ground, is classified as stiff because its natural period is less than 1 s. On the windward side, evaluate the magnitude of the wind pressure every 35 ft in the vertical direction. (b) Assuming the wind pressure on the windward side varies linearly between the 35-ft intervals, determine the total wind force on the building in the direction of the wind. Include the negative pressure on the leeward side.

P2.21. (a) Determine the wind pressure distribution on the four sides of the 10-story hospital shown in Figure P2.21. The building is located near the Georgia coast where the wind velocity contour map in the ASCE Standard specifies a design wind speed of 140 mph. The building, located on level flat ground, is classified as stiff because its natural period is less than 1 s. On the windward side, evaluate the magnitude of the wind pressure every 35 ft in the vertical direction. (b) Assuming the wind pressure on the windward side varies linearly between the 35-ft intervals, determine the total wind force on the building in the direction of the wind. Include the negative pressure on the leeward side.

(a) Compute Variation of Wind Pressure on Windward Face

Kz, Read in Table 2.4

| Elev. (ft) | 0 | 35 | 70 | 105 | 140 |
| --- | --- | --- | --- | --- | --- |
| Kz | 1.03 | 1.19 | 1.34 | 1.44 | 1.52 |

Compute Wind Pressure “p” on Windward Face

where G  0.85 for natural period less than 1 sec.

Compute “p” for Various Elevations

| Elev. (ft) | 0 | 35 | 70 | 105 | 140 |
| --- | --- | --- | --- | --- | --- |
| p (psf) | 34.36 | 39.69 | 44.69 | 48.03 | 50.70 |

Compute Wind Pressure on Leeward Wall

p  qz GCp; Use Value of qz at 140 ft. i.c. Kz  152

Wind Pressure on Side Walls

(b) Variation of Wind Pressure on Windward and Leeward Sides

P2.21. Continued

Compute Total Wind Force (kips)

P2.22. Consider the five-story building shown in Figure P2.16. The average weights of the floor and roof are 90 lb/ft2 and 70 lb/ft2, respectively. The values of SDS and SD1 are equal to 0.9g and 0.4g, respectively. Since steel moment frames are used in the north-south direction to resist the seismic forces, the value of R equals 8. Compute the seismic base 
shear V. Then distribute the base shear along 
the height of the building.

P2.22. Consider the five-story building shown in Figure P2.16. The average weights of the floor and roof are 90 lb/ft2 and 70 lb/ft2, respectively. The values of SDS and SD1 are equal to 0.9g and 0.4g, respectively. Since steel moment frames are used in the north-south direction to resist the seismic forces, the value of R equals 8. Compute the seismic base 
shear V. Then distribute the base shear along 
the height of the building.

P2.16

P2.16

Fundamental Period

Therefore,

P2.22. Continued

Forces at Each Floor Level

| Floor | Weight Wi (kips) | Floor Height hi (ft) | (kips.ft) |  | Fx (kips) |
| --- | --- | --- | --- | --- | --- |
| Roof | 630 | 60 | 63,061 | 0.295 | 76.1 |
| 5th | 810 | 48 | 63,079 | 0.295 | 76.1 |
| 4th | 810 | 36 | 45,638 | 0.213 | 56.0 |
| 3rd | 810 | 24 | 28,922 | 0.135 | 34.8 |
| 2nd | 810 | 12 | 13,261 | 0.062 | 16.0 |
|  | 3,870 |  | 213,961 |  | 258 |

P2.23. When a moment frame does not exceed 12 stories in height and the story height is at least 10 ft, the ASCE standard provides a simpler expression to compute the approximate fundamental period:

T = 0.1N

where N = number of stories. Recompute T with the above expression and compare it with that obtained from Problem P2.22. Which method produces a larger seismic base shear?

P2.23. When a moment frame does not exceed 12 stories in height and the story height is at least 10 ft, the ASCE standard provides a simpler expression to compute the approximate fundamental period:

T = 0.1N

where N = number of stories. Recompute T with the above expression and compare it with that obtained from Problem P2.22. Which method produces a larger seismic base shear?

ASCE Approximate Fundamental Period:

The simpler approximate method produces a larger value of base shear.

P2.24. (a) A two-story hospital facility shown 
in Figure P2.24 is being designed in New York with a basic wind speed of 90 mph and wind exposure D. The importance factor I is 1.15 
and Kz = 1.0. Use the simplified procedure to determine the design wind load, base shear, 
and building overturning moment. (b) Use the equivalent lateral force procedure to determine the seismic base shear and overturning moment. The facility, with an average weight of 90 lb/ft2 for both the floor and roof, is to be designed for the following seismic factors: SDS = 0.27g and SD1 = 0.06g; reinforced concrete frames with 
an R value of 8 are to be used. The importance factor I is 1.5. (c) Do wind forces or seismic forces govern the strength design of the building?

P2.24. (a) A two-story hospital facility shown 
in Figure P2.24 is being designed in New York with a basic wind speed of 90 mph and wind exposure D. The importance factor I is 1.15 
and Kz = 1.0. Use the simplified procedure to determine the design wind load, base shear, 
and building overturning moment. (b) Use the equivalent lateral force procedure to determine the seismic base shear and overturning moment. The facility, with an average weight of 90 lb/ft2 for both the floor and roof, is to be designed for the following seismic factors: SDS = 0.27g and SD1 = 0.06g; reinforced concrete frames with 
an R value of 8 are to be used. The importance factor I is 1.5. (c) Do wind forces or seismic forces govern the strength design of the building?

P2.24

P2.24

(a) Wind Loads Using Simplified Procedure:

Design Wind Pressure Ps   Kzt IPS30

1.66 Table 2.8, Mean Roof Height  30ʹ

Resultant Force at Each Level; Where Distance a  0.1(100)  10; 0.4(30)  12; 3

P2.24. Continued

(b) Seismic Loads by Equivalent Lateral Force Procedure Given: W  90 psf Floor & Roof; 
SDS  0.27g, SD1  0.06g; R = 8, I  1.5

Where     W Total Building Dead Load:

T < 0.5 Sec. Thus K  1.0

| Level | wi (kips) | hi (ft) | (kips-ft) |  | Force @ Ea. Level (kips) |
| --- | --- | --- | --- | --- | --- |
| Roof | 900 | 30 | 27,000 | 0.667 | Froof 39.5 |
| 2nd | 900 | 15 | 13,500 | 0.333 | F2nd 19.76 |

(c) Seismic Forces Govern the Lateral Strength Design.

P2.25. In the gabled roof structure shown in Figure P2.19, determine the sloped roof snow load Ps. The building is heated and is located in a windy area in Boston. Its roof consists of asphalt shingles. The building is used for a manufacturing facility, placing it in a type II occupancy category. Determine the roof slope factor, Cs using the ASCE graph shown in Figure P2.25. If roof trusses are spaced at 16 ft on center, what is the uniform snow load along 
a truss?

P2.25. In the gabled roof structure shown in Figure P2.19, determine the sloped roof snow load Ps. The building is heated and is located in a windy area in Boston. Its roof consists of asphalt shingles. The building is used for a manufacturing facility, placing it in a type II occupancy category. Determine the roof slope factor, Cs using the ASCE graph shown in Figure P2.25. If roof trusses are spaced at 16 ft on center, what is the uniform snow load along 
a truss?

P2.25

P2.19

P2.25

P2.19

Sloped Roof Snow Load

WhereFlat Roof Snow Load

From Fig. P2.17 Cs is approximately 0.9

(Non-Slippery Surface)

Uniform Load Acting on Trusses Spaced @ 16o.c.

P2.26. A beam that is part of a rigid frame has end moments and mid-span moments for dead, live, and earthquake loads shown below. Determine the governing load combination for both negative and positive moments at the ends and mid-span of the beam. Earthquake load can act in either direction, generating both negative and positive moments in the beam.

| End Moments (ft-kip) | Mid-Span Moments (ft-kip) |
| --- | --- |
| Dead Load 180 | 90 |
| Live Load 150 | 150 |
| Earthquake 80 | 0 |

Load Combinations-Factored Strength

End Moments

Mid-Span Moments

Beam Needs to be Designed for Max. End Moment  456 kips-ft

Max. Mid-Span Moment  348 kips-ft

P2.27. Calculate the vertical hydrostatic load on the 5100-lb empty shipping container in Figure P2.27 subjected to a tsunami inundation height of 3′. Assuming the container is water-tight, will the tsunami wave be capable of carrying away the container as debris?

P2.27. Calculate the vertical hydrostatic load on the 5100-lb empty shipping container in Figure P2.27 subjected to a tsunami inundation height of 3′. Assuming the container is water-tight, will the tsunami wave be capable of carrying away the container as debris?

P2.27

P2.27

P2.28. Consider the building in Figure P2.28, which has a width into the page of 35 ft. Maximum inundation height, hmax, and flow velocity, umax, have been determined as 33 ft 
and 20 ft/sec, respectively. Calculate the hydrodynamic load applied at floor level on 
the wall IJKL for Load Cases 2 and 3, due to outflow. If windows are inundated, calculate 
the expected hydrostatic loading on the adjacent outside walls due to water retained by the floor, or floors. Finally, calculate the debris impact load to be applied to the free-standing column CD. Assume Itsu = 1.0 and Cd = 1.25.

P2.28. Consider the building in Figure P2.28, which has a width into the page of 35 ft. Maximum inundation height, hmax, and flow velocity, umax, have been determined as 33 ft 
and 20 ft/sec, respectively. Calculate the hydrodynamic load applied at floor level on 
the wall IJKL for Load Cases 2 and 3, due to outflow. If windows are inundated, calculate 
the expected hydrostatic loading on the adjacent outside walls due to water retained by the floor, or floors. Finally, calculate the debris impact load to be applied to the free-standing column CD. Assume Itsu = 1.0 and Cd = 1.25.

P2.28

P2.28

Hydrodynamic, Load Case 2	Hydrodynamic, Load Case 3

Hydrostatic on interior walls

Debris Impact on CD